# AI-Powered Health Monitoring System — Project Report

Date: November 27, 2025

## 1. Executive Summary

This document describes the AI-Powered Health Monitoring prototype implemented as a course project. The system ingests simulated wearable telemetry (heart rate, blood oxygen, activity), performs anomaly detection with a trained IsolationForest model, and presents results on a web dashboard that displays live metrics, anomaly alerts, and short recommendations.

## 2. Goals & Scope

Goals: Provide continuous health monitoring, detect anomalies in heart-rate and SpO2 readings, and surface actionable, explainable recommendations. Scope: Prototype only — simulated telemetry; no real device integration nor patient-identifiable storage. The system focuses on model correctness, UX, and deployment readiness.

## 3. Architecture & Components

The project is implemented as a small full-stack prototype with the following main components:

• Backend (FastAPI): serves the frontend, exposes endpoints for streaming telemetry, model inference, training, and health status (api/stream, api/predict, api/train, api/status).

• Model: IsolationForest anomaly detector trained on synthetic telemetry (backend/train_model.py) and persisted at backend/model/anomaly_model.pkl for inference via the API.

• Frontend: Static, single-page UI (backend/frontend/index.html and script.js) that auto-polls the backend for live samples, renders charts with Chart.js, highlights anomalies and shows recommendations.

## 4. Data & Model

Data: synthetic telemetry generated during training and at runtime for the streaming demo. Typical features: heart_rate (bpm), blood_oxygen (SpO2 %), activity_level (low/moderate/high).

Model: a scikit-learn IsolationForest with an appropriate contamination setting trained on a synthetic dataset. The design emphasises explainability and easy retraining in the prototype.

## 5. Usage / How to run

1) Activate the project virtual environment and start the backend service (FastAPI) using uvicorn:

cd backend

python -m uvicorn main:app --host 127.0.0.1 --port 8000

2) Open a browser and visit: http://127.0.0.1:8000/ to view the live dashboard. The app will auto-poll the backend every second.

## 6. Verification & Testing

Unit tests: a test for the training script is included (tests/test_train_model.py). Manual verification: use /api/status to confirm the model is loaded and /api/stream to fetch a live sample. UI checks: connection indicator, live chart updates, and anomaly timeline entries.

## 7. Results & Observations

The prototype demonstrates a clear end-to-end flow from simulated sensors to anomaly alerts. With synthetic anomalies injected in the stream, the front-end shows effective alerting and recommendations. The model is intentionally simple for ease of inspection and retraining.

## 8. Limitations & Next Steps

• Integrate real wearable platforms (Fitbit / Apple Health) and secure data ingestion.
• Add per-user authentication and persistent storage (HIPAA/GDPR compliance).
• Implement time-series anomaly detection (LSTM, Transformers) for improved sensitivity and lower false positives.
• Add CI/CD and containerized deployment with HPA for scaling.

## 9. Files changed by prototype

Key files in this repository (short list):

• backend/main.py — API and streaming endpoints

• backend/train_model.py — synthetic data training + export

• backend/model/anomaly_model.pkl — trained model (generated)

• backend/frontend/index.html + script.js — dashboard UI + streaming client

• requirements.txt / backend/Dockerfile / tests/test_train_model.py

## 10. Appendix / Screenshots

Attach screenshots of the UI here (placeholder).